- 1st Oct : lifetime with powers of 975nm

- 2nd Oct :

(i) lifetime with 975nm power variation,

(ii) percentage Modulation matrix with 1064nm from 2.25mA to 3.86mA for 7 powers and in each folder there are datas for 975nm from 80mW to 220mW for 8 powers.

(iii) percentage modulation changing with different temperatures form 25 to 60 degrees for 8 different degrees.

- 3rd Oct : same polarization : (i) percentage modulation at fixed 975nm power (300mW) with 5 different 1064nm powers.

- 6th Oct : only 1064nm laser passing without dichroic filter with 660nm filter.

- 1064nm_3.86mW_same_polarization –

- Face on : with 1064nm power fixed (max) and with varied 975nm powers (0,1,2,3,5,6,7,10,20,60,80,100)mW.

- Partial side on : at same powers as Face on.

- lifetime of 1064nm folder – for only one power of 1064nm (max)

- lifetime measurements with 975nm folder – for 6 different powers of 975nm.

- 1064nm_lifetimes – for two different powers with perpendicular polarization.

- 7th Oct : with perpendicular polarization,

- Face on folder – for 6 different powers of 1064nm and 6 different powers of 975nm (1-6mW). Although, the set up got misaligned and we might have good datas for only three powers of 1064nm.

- Side on folder – for max 1064nm power and 7 different powers of 975nm (7,10,20,40,60,80,100)mW

- photon_counts_comparisons_NaYF4_NaBiF4 folder – datas were taken for varied powers of 975nm.

- 23 August : lifetimes with varied powers of 975nm wavelengths. 
clean particle folder-

- percentage modulation with 7 different modulation frequencies of 1064nm.

- lifetimes with varied powers of 975nm wavelengths.

- 975nm power variation folder – with 9 different powers of 975nm for a fixed power of 1064nm (3.5mA),

- 1064nm only folder – taking the signal without the 661nm bandpass filter for different modulation frequencies,

- 1064nm power variation folder – with 975nm power fixed(150mW) and 7 different powers of 1064nm.

- comparison between NaBiF4 and NaYF4 folder – photon counts for 100ms bin width and 1000bins.